## 2020
technology | parameter | value | unit | source | further description | currency_year
OCGT | FOM | 17772 | %/year | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 52 OCGT - Natural gas: Fixed O&M | 2015.0
OCGT | VOM | 4762 | EUR/MWh | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 52 OCGT - Natural gas: Variable O&M | 2015.0
OCGT | efficiency | 0.4 | per unit | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 52 OCGT - Natural gas: Electricity efficiency, annual average | 2015.0
OCGT | investment | 4803903 | EUR/kW | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 52 OCGT - Natural gas: Specific investment | 2015.0
OCGT | lifetime | 25.0 | years | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 52 OCGT - Natural gas: Technical lifetime | 2015.0
battery inverter | FOM | 0.2 | %/year | Danish Energy Agency, technology_data_catalogue_for_energy_storage.xlsx | : Fixed O&M | 2015.0
battery inverter | efficiency | 0.95 | per unit | Danish Energy Agency, technology_data_catalogue_for_energy_storage.xlsx | : Round trip efficiency DC | 2015.0
battery inverter | investment | 2857198 | EUR/kW | Danish Energy Agency, technology_data_catalogue_for_energy_storage.xlsx | : Output capacity expansion cost investment | 2015.0
battery inverter | lifetime | 10.0 | years | Danish Energy Agency, technology_data_catalogue_for_energy_storage.xlsx, Note K. | : Technical lifetime | 2015.0
battery storage | investment | 2455074 | EUR/kWh | Danish Energy Agency, technology_data_catalogue_for_energy_storage.xlsx | : Energy storage expansion cost investment | 2015.0
battery storage | lifetime | 20.0 | years | Danish Energy Agency, technology_data_catalogue_for_energy_storage.xlsx | : Technical lifetime | 2015.0
coal | CO2 intensity | 0.3361 | tCO2/MWh_th | Entwicklung der spezifischen Kohlendioxid-Emissionen des deutschen Strommix in den Jahren 1990 - 2018
coal | FOM | 1.31 | %/year | Lazard's levelized cost of energy analysis - version 16.0 (2023): https://www.lazard.com/media/typdgxmm/lazards-lcoeplus-april-2023.pdf , pg. 49 (Levelized Cost of Energy - Key Assumptions), accessed: 2023-12-14. | Calculated based on average of listed range, i.e. (39.5+91.25) USD/kW_e/a /2 / (1.09 USD/EUR) / investment cost * 100. | 2023.0
coal | VOM | 32612 | EUR/MWh_e | Lazard's levelized cost of energy analysis - version 16.0 (2023): https://www.lazard.com/media/typdgxmm/lazards-lcoeplus-april-2023.pdf , pg. 49 (Levelized Cost of Energy - Key Assumptions), accessed: 2023-12-14. | Calculated based on average of listed range, i.e. (3+5.5)USD/MWh_e/2 / (1.09 USD/EUR). | 2023.0
coal | efficiency | 0.356 | p.u. | Lazard's levelized cost of energy analysis - version 16.0 (2023): https://www.lazard.com/media/typdgxmm/lazards-lcoeplus-april-2023.pdf , pg. 49 (Levelized Cost of Energy - Key Assumptions), accessed: 2023-12-14. | Calculated based on average of listed range, i.e. 1 / ((8.75+12) MMbtu/MWh_th /2 / (3.4095 MMbtu/MWh_th)), rounded up. | 2023.0
coal | fuel | 95542 | EUR/MWh_th | DIW (2013): Current and propsective costs of electricity generation until 2050, http://hdl.handle.net/10419/80348 , pg. 80 text below figure 10, accessed: 2023-12-14. | Based on IEA 2011 data, 99 USD/t. | 2010.0
coal | investment | 38271629 | EUR/kW_e | Lazard's levelized cost of energy analysis - version 16.0 (2023): https://www.lazard.com/media/typdgxmm/lazards-lcoeplus-april-2023.pdf , pg. 49 (Levelized Cost of Energy - Key Assumptions), accessed: 2023-12-14. | Higher costs include coal plants with CCS, but since using here for calculating the average nevertheless. Calculated based on average of listed range, i.e. (3200+6775) USD/kW_e/2 / (1.09 USD/EUR). | 2023.0
coal | lifetime | 40.0 | years | Lazard's levelized cost of energy analysis - version 16.0 (2023): https://www.lazard.com/media/typdgxmm/lazards-lcoeplus-april-2023.pdf , pg. 49 (Levelized Cost of Energy - Key Assumptions), accessed: 2023-12-14. |  | 2023.0
nuclear | FOM | 1.27 | %/year | Lazard's levelized cost of energy analysis - version 16.0 (2023): https://www.lazard.com/media/typdgxmm/lazards-lcoeplus-april-2023.pdf , pg. 49 (Levelized Cost of Energy - Key Assumptions), accessed: 2023-12-14. | U.S. specific costs including newly commissioned Vogtle plant, average of range and currency converted, i.e. (131.5+152.75)/2 USD/kW_e / (1.09 USD/EUR) relative to investment costs. | 2023.0
nuclear | VOM | 35464 | EUR/MWh_e | Lazard's levelized cost of energy analysis - version 16.0 (2023): https://www.lazard.com/media/typdgxmm/lazards-lcoeplus-april-2023.pdf , pg. 49 (Levelized Cost of Energy - Key Assumptions), accessed: 2023-12-14. | U.S. specific costs including newly commissioned Vogtle plant, average of range and currency converted, i.e. (4.25+5)/2 USD/kW_e / (1.09 USD/EUR) . | 2023.0
nuclear | efficiency | 0.326 | p.u. | Lazard's levelized cost of energy analysis - version 16.0 (2023): https://www.lazard.com/media/typdgxmm/lazards-lcoeplus-april-2023.pdf , pg. 49 (Levelized Cost of Energy - Key Assumptions), accessed: 2023-12-14. | Based on heat rate of 10.45 MMBtu/MWh_e and 3.4095 MMBtu/MWh_th, i.e. 1/(10.45/3.4095) = 0.3260. | 2023.0
nuclear | fuel | 34122 | EUR/MWh_th | DIW (2013): Current and propsective costs of electricity generation until 2050, http://hdl.handle.net/10419/80348 , pg. 80 text below figure 10, accessed: 2023-12-14. | Based on IEA 2011 data. | 2010.0
nuclear | investment | 85941354 | EUR/kW_e | Lazard's levelized cost of energy analysis - version 16.0 (2023): https://www.lazard.com/media/typdgxmm/lazards-lcoeplus-april-2023.pdf , pg. 49 (Levelized Cost of Energy - Key Assumptions), accessed: 2023-12-14. | U.S. specific costs including newly commissioned Vogtle plant, average of range and currency converted, i.e. (8475+13925)/2 USD/kW_e / (1.09 USD/EUR) . | 2023.0
nuclear | lifetime | 40.0 | years | Lazard's levelized cost of energy analysis - version 16.0 (2023): https://www.lazard.com/media/typdgxmm/lazards-lcoeplus-april-2023.pdf , pg. 49 (Levelized Cost of Energy - Key Assumptions), accessed: 2023-12-14. |  | 2023.0
offwind | FOM | 25093 | %/year | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 21 Offshore turbines: Fixed O&M [EUR/MW_e/y, 2020] | 2020.0
offwind | VOM | 0.0212 | EUR/MWhel | RES costs made up to fix curtailment order | from old pypsa cost assumptions | 2015.0
offwind | investment | 19926105 | EUR/kW_e, 2020 | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 21 Offshore turbines: Nominal investment [MEUR/MW_e, 2020] grid connection costs subtracted from investment costs | 2020.0
offwind | lifetime | 27.0 | years | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 21 Offshore turbines: Technical lifetime [years] | 2020.0
onwind | FOM | 12514 | %/year | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 20 Onshore turbines: Fixed O&M | 2015.0
onwind | VOM | 15873 | EUR/MWh | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 20 Onshore turbines: Variable O&M | 2015.0
onwind | investment | 11839119 | EUR/kW | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 20 Onshore turbines: Nominal investment | 2015.0
onwind | lifetime | 27.0 | years | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 20 Onshore turbines: Technical lifetime | 2015.0
solar | FOM | 1578 | %/year | Calculated. See 'further description'. | Mixed investment costs based on average of 50% 'solar-rooftop' and 50% 'solar-utility' | 2020.0
solar | VOM | 0.0106 | EUR/MWhel | RES costs made up to fix curtailment order | from old pypsa cost assumptions | 2015.0
solar | investment | 8098118 | EUR/kW_e | Calculated. See 'further description'. | Mixed investment costs based on average of 50% 'solar-rooftop' and 50% 'solar-utility' | 2020.0
solar | lifetime | 35.0 | years | Calculated. See 'further description'. | Mixed investment costs based on average of 50% 'solar-rooftop' and 50% 'solar-utility' | 2020.0
solar-utility | FOM | 20089 | %/year | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 22 Utility-scale PV: Fixed O&M [2020-EUR/MW_e/y] | 2020.0
solar-utility | investment | 562.5 | EUR/kW_e | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 22 Utility-scale PV: Nominal investment [2020-MEUR/MW_e] | 2020.0
solar-utility | lifetime | 35.0 | years | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 22 Utility-scale PV: Technical lifetime [years] | 2020.0

## 2030
technology
OCGT | FOM | 17795 | %/year | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 52 OCGT - Natural gas: Fixed O&M | 2015.0
OCGT | VOM | 4762 | EUR/MWh | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 52 OCGT - Natural gas: Variable O&M | 2015.0
OCGT | efficiency | 0.41 | per unit | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 52 OCGT - Natural gas: Electricity efficiency, annual average | 2015.0
OCGT | investment | 4605804 | EUR/kW | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 52 OCGT - Natural gas: Specific investment | 2015.0
OCGT | lifetime | 25.0 | years | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 52 OCGT - Natural gas: Technical lifetime | 2015.0
battery inverter | FOM | 0.3375 | %/year | Danish Energy Agency, technology_data_catalogue_for_energy_storage.xlsx | : Fixed O&M | 2015.0
battery inverter | efficiency | 0.96 | per unit | Danish Energy Agency, technology_data_catalogue_for_energy_storage.xlsx | : Round trip efficiency DC | 2015.0
battery inverter | investment | 1693155 | EUR/kW | Danish Energy Agency, technology_data_catalogue_for_energy_storage.xlsx | : Output capacity expansion cost investment | 2015.0
battery inverter | lifetime | 10.0 | years | Danish Energy Agency, technology_data_catalogue_for_energy_storage.xlsx, Note K. | : Technical lifetime | 2015.0
battery storage | investment | 1502675 | EUR/kWh | Danish Energy Agency, technology_data_catalogue_for_energy_storage.xlsx | : Energy storage expansion cost investment | 2015.0
battery storage | lifetime | 25.0 | years | Danish Energy Agency, technology_data_catalogue_for_energy_storage.xlsx | : Technical lifetime | 2015.0
coal | CO2 intensity | 0.3361 | tCO2/MWh_th | Entwicklung der spezifischen Kohlendioxid-Emissionen des deutschen Strommix in den Jahren 1990 - 2018
coal | FOM | 1.31 | %/year | Lazard's levelized cost of energy analysis - version 16.0 (2023): https://www.lazard.com/media/typdgxmm/lazards-lcoeplus-april-2023.pdf , pg. 49 (Levelized Cost of Energy - Key Assumptions), accessed: 2023-12-14. | Calculated based on average of listed range, i.e. (39.5+91.25) USD/kW_e/a /2 / (1.09 USD/EUR) / investment cost * 100. | 2023.0
coal | VOM | 32612 | EUR/MWh_e | Lazard's levelized cost of energy analysis - version 16.0 (2023): https://www.lazard.com/media/typdgxmm/lazards-lcoeplus-april-2023.pdf , pg. 49 (Levelized Cost of Energy - Key Assumptions), accessed: 2023-12-14. | Calculated based on average of listed range, i.e. (3+5.5)USD/MWh_e/2 / (1.09 USD/EUR). | 2023.0
coal | efficiency | 0.356 | p.u. | Lazard's levelized cost of energy analysis - version 16.0 (2023): https://www.lazard.com/media/typdgxmm/lazards-lcoeplus-april-2023.pdf , pg. 49 (Levelized Cost of Energy - Key Assumptions), accessed: 2023-12-14. | Calculated based on average of listed range, i.e. 1 / ((8.75+12) MMbtu/MWh_th /2 / (3.4095 MMbtu/MWh_th)), rounded up. | 2023.0
coal | fuel | 95542 | EUR/MWh_th | DIW (2013): Current and propsective costs of electricity generation until 2050, http://hdl.handle.net/10419/80348 , pg. 80 text below figure 10, accessed: 2023-12-14. | Based on IEA 2011 data, 99 USD/t. | 2010.0
coal | investment | 38271629 | EUR/kW_e | Lazard's levelized cost of energy analysis - version 16.0 (2023): https://www.lazard.com/media/typdgxmm/lazards-lcoeplus-april-2023.pdf , pg. 49 (Levelized Cost of Energy - Key Assumptions), accessed: 2023-12-14. | Higher costs include coal plants with CCS, but since using here for calculating the average nevertheless. Calculated based on average of listed range, i.e. (3200+6775) USD/kW_e/2 / (1.09 USD/EUR). | 2023.0
coal | lifetime | 40.0 | years | Lazard's levelized cost of energy analysis - version 16.0 (2023): https://www.lazard.com/media/typdgxmm/lazards-lcoeplus-april-2023.pdf , pg. 49 (Levelized Cost of Energy - Key Assumptions), accessed: 2023-12-14. |  | 2023.0
nuclear | FOM | 1.27 | %/year | Lazard's levelized cost of energy analysis - version 16.0 (2023): https://www.lazard.com/media/typdgxmm/lazards-lcoeplus-april-2023.pdf , pg. 49 (Levelized Cost of Energy - Key Assumptions), accessed: 2023-12-14. | U.S. specific costs including newly commissioned Vogtle plant, average of range and currency converted, i.e. (131.5+152.75)/2 USD/kW_e / (1.09 USD/EUR) relative to investment costs. | 2023.0
nuclear | VOM | 35464 | EUR/MWh_e | Lazard's levelized cost of energy analysis - version 16.0 (2023): https://www.lazard.com/media/typdgxmm/lazards-lcoeplus-april-2023.pdf , pg. 49 (Levelized Cost of Energy - Key Assumptions), accessed: 2023-12-14. | U.S. specific costs including newly commissioned Vogtle plant, average of range and currency converted, i.e. (4.25+5)/2 USD/kW_e / (1.09 USD/EUR) . | 2023.0
nuclear | efficiency | 0.326 | p.u. | Lazard's levelized cost of energy analysis - version 16.0 (2023): https://www.lazard.com/media/typdgxmm/lazards-lcoeplus-april-2023.pdf , pg. 49 (Levelized Cost of Energy - Key Assumptions), accessed: 2023-12-14. | Based on heat rate of 10.45 MMBtu/MWh_e and 3.4095 MMBtu/MWh_th, i.e. 1/(10.45/3.4095) = 0.3260. | 2023.0
nuclear | fuel | 34122 | EUR/MWh_th | DIW (2013): Current and propsective costs of electricity generation until 2050, http://hdl.handle.net/10419/80348 , pg. 80 text below figure 10, accessed: 2023-12-14. | Based on IEA 2011 data. | 2010.0
nuclear | investment | 85941354 | EUR/kW_e | Lazard's levelized cost of energy analysis - version 16.0 (2023): https://www.lazard.com/media/typdgxmm/lazards-lcoeplus-april-2023.pdf , pg. 49 (Levelized Cost of Energy - Key Assumptions), accessed: 2023-12-14. | U.S. specific costs including newly commissioned Vogtle plant, average of range and currency converted, i.e. (8475+13925)/2 USD/kW_e / (1.09 USD/EUR) . | 2023.0
nuclear | lifetime | 40.0 | years | Lazard's levelized cost of energy analysis - version 16.0 (2023): https://www.lazard.com/media/typdgxmm/lazards-lcoeplus-april-2023.pdf , pg. 49 (Levelized Cost of Energy - Key Assumptions), accessed: 2023-12-14. |  | 2023.0
offwind | FOM | 23185 | %/year | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 21 Offshore turbines: Fixed O&M [EUR/MW_e/y, 2020] | 2020.0
offwind | VOM | 0.0212 | EUR/MWhel | RES costs made up to fix curtailment order | from old pypsa cost assumptions | 2015.0
offwind | investment | 16821226 | EUR/kW_e, 2020 | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 21 Offshore turbines: Nominal investment [MEUR/MW_e, 2020] grid connection costs subtracted from investment costs | 2020.0
offwind | lifetime | 30.0 | years | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 21 Offshore turbines: Technical lifetime [years] | 2020.0
onwind | FOM | 12167 | %/year | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 20 Onshore turbines: Fixed O&M | 2015.0
onwind | VOM | 14286 | EUR/MWh | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 20 Onshore turbines: Variable O&M | 2015.0
onwind | investment | 10958533 | EUR/kW | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 20 Onshore turbines: Nominal investment | 2015.0
onwind | lifetime | 30.0 | years | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 20 Onshore turbines: Technical lifetime | 2015.0
solar | FOM | 19495 | %/year | Calculated. See 'further description'. | Mixed investment costs based on average of 50% 'solar-rooftop' and 50% 'solar-utility' | 2020.0
solar | VOM | 0.0106 | EUR/MWhel | RES costs made up to fix curtailment order | from old pypsa cost assumptions | 2015.0
solar | investment | 5433289 | EUR/kW_e | Calculated. See 'further description'. | Mixed investment costs based on average of 50% 'solar-rooftop' and 50% 'solar-utility' | 2020.0
solar | lifetime | 40.0 | years | Calculated. See 'further description'. | Mixed investment costs based on average of 50% 'solar-rooftop' and 50% 'solar-utility' | 2020.0
solar-utility | FOM | 24757 | %/year | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 22 Utility-scale PV: Fixed O&M [2020-EUR/MW_e/y] | 2020.0
solar-utility | investment | 3837312 | EUR/kW_e | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 22 Utility-scale PV: Nominal investment [2020-MEUR/MW_e] | 2020.0
solar-utility | lifetime | 40.0 | years | Danish Energy Agency, technology_data_for_el_and_dh.xlsx | 22 Utility-scale PV: Technical lifetime [years] | 2020.0